## Slide 1
Read in LV and aortic pressure files
Calculate power spectrum to set low-pass cut off frequencies for filtering pressure signals
Low-pass filter pressure signal
UI: Click on cut off frequency
UI: Satisfied?
No
Yes
Detect R-peaks in ECG
UI: Choose which cycles in LVP and AOP to use
Detect cardiac events:
1) ED (a)
2) DS (a)
3) ES (ui)
4) eIVC (a)
5) eIVR (a)

## Slide 2
Detect cardiac events:
1) ED (a)
2) DS (a)
3) ES (ui)
4) eIVC (a)
5) eIVR (a)
Linearly interpolate LVP segments between cardiac time points
Plot final LVP trace and PV loop
Write out final text file with image number and LV pressures

## Slide 3
Detect cardiac events:
1) ED (a)
2) DS (a)
3) ES (ui)
4) eIVC (a)
5) eIVR (a)
No
i <= num LVP cycles?
i <= num AOP cycles?
Identify eIVC
Identify ES 
UI: Identify dicrotic notch in AOP
Yes
i = 0
i = 0
Yes
Identify ED
Identify DS
Identify eIVR
Identify maxLVP
No